## Sheet1
| State | Facility Name | City | Design Capacity (Unit & Total TPD) | CEMS | Technology Type | Project Status/Startup Year | APC systems | Energy Capacity | Owner | Operator
1 | AK | Eielson Airforce Base | North Pole | 5x2=10 | Opacity | RDF (co-fired in Coal Boiler) | 1995 | FF | STM: 2,775 Lbs/Hr; ELE: 0.2 MW (RDF Attributed-Peak) | Eileson Airforce Base | Eileson Airforce Base
2 | AL | Huntsville Solid Waste-to-Energy Facility | Huntsville | 2x345=690 | CO; CO2; NOx; O2; opacity; SO2 | MBWW | 1990 | SDA; FF; SNCR; CI | STM: 178,620 Lbs/Hr | City of Huntsville Solid Waste Disposal Authority | Covanta Huntsville, nc.
3 | CA | Commerce Refuse-to-Energy Facility | Commerce | 1x350=350 | CO; NOx; O2; SO2 | MBWW | 1987 | SDA; FF; SNCR | ELE: 10 MW | Commerce Refuse-to-Energy Authority | Sanitation Districts of Los Angeles County
4 | CA | Southeast Resource Recovery Facility (SERRF) | Long Beach | 3x460=1380 | CO; CO2; NOx; O2; Opacity; SO2 | MBWW | 1988 | SDA; FF; SNCR | ELE: 37.5 MW | City of Long Beach | Montenay Pacific Power Corporation
5 | CA | Stanislaus County Resource Recovery Facility | Crows Landing | 2x400=800 | CO; CO2; Link; NOx; Opacity; SO2 | MBWW | 1989 | SDA; FF; SNCR; CI | ELE: 22 MW | Covanta Stanislaus, Inc. | Covanta Stanislaus, Inc.
6 | CT | Bristol Resource Recovery Facility | Bristol | 2x325=650 | CO; CO2; Link; NOx; Opacity; SO2; VOC | MBWW | 1988 | SDA; FF; SNCR; CI | ELE: 16 MW | Covanta Bristol, Inc. | Covanta Bristol, Inc.
7 | CT | Mid-Connecticut Resource Recovery Facility | Hartford | 3x666.6=2000 | CO; CO2; NOx; O2; Opacity; SO2 | RDF-SSWW | 1987 | SDA; FF; SNCR | ELE: 68 MW | Connecticut Resource Recovery Authority | Covanta Mid-Conn, Inc.
8 | CT | Riley Energy Systems of Lisbon Connecticut Corp. | Lisbon | 2x250=500 | CO; NOx; O2; Opacity; SO2 | MBWW | 1995 | SDA; FF; SNCR; CI | ELE: 15 MW | Eastern Connecticut Resource Recovery Authority | Riley Energy Systems of Lisbon Corp (Wheelabrator)
9 | CT | Southeastern Connecticut Resource Recovery Facility | Preston | 2x344.5=689 | CO; NOx; O2; Opacity; SO2 | MBWW | 1991 | SDA; FF; CI | ELE: 17 MW | Covanta Company of Southeastern Connecticut | Covanta Company of Southeastern Connecticut
10 | CT | Wallingford Resource Recovery Facility | Wallingford | 3x140=420 | CO; CO2; NOx; Opacity; SO2; VOC | MBRW | 1989 | SDA; FF | ELE: 11 MW | Connecticut Resource Recovery Authority | Covanta Projects of Wallingford, L.P.
11 | CT | Wheelabrator Bridgeport Company, L.P. | Bridgeport | 3x750=2250 | CO; CO2; NOx; Opacity; SO2 | MBWW | 1988 | SDA; FF; SNCR; CI | ELE: 67 MW | Wheelabrator Technologies Inc. | Wheelabrator Technologies Inc.
12 | FL | Bay County Resource Recovery Center | Panama City | 2x250=500 | O2; CO; NOx; SO2; Opacity | RWW | 1987 | SDA; FF; CI | ELE: 10 MW | Bay County | Montenay Bay LLC
13 | FL | Hillsborough County Resource Recovery Facility | Tampa | 2x600=1200 | CO; CO2; NOx; Opacity; SO2; O2 | MBWW | 1987 | SDA; FF; SNCR; CI | ELE: 29 MW | Hillsborough County | Covanta Hillsborough, Inc.
14 | FL | Lake County Resource Recovery Facility | Okahumpka | 2x264=528 | CO; CO2; NOx; Opacity; SO2; O2 | MBWW | 1991 | SDA; FF; SNCR; CI | ELE: 14.5 MW | Covanta Lake, Inc. | Covanta Lake, Inc.
15 | FL | Lee County Resource Recovery Facility | Fort Myers | 2x600; 1x636=1836 | CO; CO2; NOx; O2; Opacity; SO2 | MBWW | 1994 | SDA; FF; SNCR; CI; FGD | ELE: 57 MW | Lee County | Covanta Lee, Inc.
16 | FL | McKay Bay Refuse-to-Energy Facility | Tampa | 4x250=1000 | CO; Opacity; SO2; NOx; Temp | MBWW | 1985 | SDA; FF; SNCR; CI | ELE: 22.5 MW | City of Tampa | Wheelabrator McKay Bay Inc.
17 | FL | Miami-Dade County Resource Recovery Facility | Miami | 4x648=2592 | CO; NOx; O2; Opacity; SO2 | RDF - SSWW | 1979 | SDA; FF; SNCR; CI | ELE: 77 MW | Miami-Dade County | Montenay Power Corporation
18 | FL | North County Resource Recovery Facility | West Palm Beach | 2x900=1800 | NOx; CO; SO2; Opacity; CO2 | RDF - SSWW | 1989 | SDA; ESP | ELE: 62 MW | Solid Waste Authority of Palm Beach County | Palm Beach Resource Recovery Corporation
19 | FL | Pasco County Resource Recovery Facility | Spring Hill | 3x350=1050 | CO; CO2; NOx; O2; Opacity; SO2 | MBWW | 1991 | SDA; FF; SNCR; CI | ELE: 30 MW | Pasco County | Covanta Pasco, Inc.
20 | FL | Pinellas County Resource Recovery Facility | St. Petersburg | 3x1000=3000 | CO; NOx; O2; Opacity; SO2 | MBWW | 1983 | SDA; FF; SNCR; CI | ELE: 77 MW | Pinellas County | Veolia ES Waste-to-Energy, Inc.
21 | FL | Wheelabrator North Broward, Inc. | Pompano Beach | 3x750=2250 | CO; NOx; O2; Opacity; SO2 | MBWW | 1991 | SDA; FF; SNCR | ELE: 68 MW | Wheelabrator Technologies Inc. | Wheelabrator Technologies Inc.
22 | FL | Wheelabrator South Broward, Inc. | Ft. Lauderdale | 3x750=2250 | CO; NOx; O2; Opacity; SO2 | MBWW | 1991 | SDA; FF; SNCR | ELE: 66 MW | Wheelabrator Technologies Inc. | Wheelabrator Technologies Inc.
23 | GA | Montenay Savannah Operations, Inc. | Savannah | 2x250=500 | CO; HCl; NOx; O2; Opacity; SO2 | MBWW | 1987 | SDA; FF; SNCR; CI | ELE: 5 MW; STM: 130,000 Lbs/Hr | Montenay Savannah Limited Partnership | Montenay Savannah Operations, Inc.
24 | HI | Honolulu Resource Recovery Venture—HPOWER | Honolulu | 2x925.5=1851 | CO; NOx; Opacity; SO2; O2 | RDF-SSWW | 1990 | SDA; ESP | ELE: 57 MW | City & County of Honolulu | Covanta Honolulu Resource Recovery Venture (HPOWER)
25 | IA | Ames Municipal Electric Utility | Ames | 1x175=175 | CO2; NOx; O2; Opacity; SO2 | RDF-Pulverized Coal WW | 1975 | ESP | ELE: 10 MW (RDF Attributed) | City of Ames | Ames Municipal Electric System
26 | IN | Indianapolis Resource Recovery Facility | Indianapolis | 3x787.3=2362 | CO; CO2; NOx; Opacity; SO2; Link; O2 | MBWW | 1988 | SDA; FF; SNCR; CI | STM: 558,000 Lbs/Hr | Marion County | Covanta Indianapolis, Inc.
27 | MA | Haverhill Resource Recovery Facility | Haverhill | 2x825=1650 | CO; NOx; Opacity; SO2; O2 | MBWW | 1989 | SDA; FF; SNCR; CI | ELE: 48 MW | City of Haverhill | Covanta Haverhill, Inc.
28 | MA | Pioneer Valley Resource Recovery Facility | Agawam | 3x136=408 (design); 3x120=360 (permit) | CO; NOx; Opacity; SO2 | MBRW | 1988 | FGR; DSI; FF; CI, CYC | STM: 96,000 Lbs/Hr; ELE: 9.4 MW | eco/Springfield L.L.C. | eco/Springfield L.L.C.
29 | MA | Pittsfield Resource Recovery Facility | Pittsfield | 3x120=360 (design); 3x80=240 (actual practice) | CO; NOx; O2; Opacity; SO2 | MBRW | 1981 | FGR; ESP; CI; CYC; Packed Tower Scrubber (sodium bicarbonate injected) | STM: 66,000 Lbs/Hr; ELE: 0.8 MW | eco/Pittsfield , L.L.C. | eco/Pittsfield , L.L.C.
30 | MA | SEMASS Resource Recovery Facility | West Wareham | 3x900=2700 | CO; NOx; Opacity; SO2; O2 | RDF-SSWW | 1989 | SDA; FF; ESP; CI | ELE: 78 MW | Covanta SEMASS, L.P. | Covanta SEMASS, L.P.
31 | MA | Wheelabrator Millbury Inc. | Millbury | 2x750=1500 | CO; NOx; O2; Opacity; SO2 | MBWW | 1987 | SDA; FF; SNCR; CI | ELE: 46 MW | CIT | Wheelabrator Millbury Inc.
32 | MA | Wheelabrator North Andover Inc. | North Andover | 2x750=1500 | CO; NOx; O2; Opacity; SO2 | MBWW | 1985 | SDA; FF; SNCR; CI | ELE: 40 MW | Wheelabrator North Andover Inc. | Wheelabrator North Andover Inc.
33 | MA | Wheelabrator Saugus, J.V. | Saugus | 2x750=1500 | CO; NOx; O2; Opacity; SO2 | MBWW | 1975 | SDA; FF; SNCR; CI | ELE: 37.5 MW | Wheelabrator Saugus, J.V. | Wheelabrator Saugus, J.V.
34 | MD | Baltimore Refuse Energy Systems Company (BRESCO) | Baltimore | 3x750=2250 | CO; NOx; O2; Opacity; SO2 | MBWW | 1985 | SDA; ESP; SNCR; CI | ELE: 60 MW | John Hancock Life Insurance Company | Wheelabrator Baltimore, L.P.
35 | MD | Harford Waste-to-Energy Facility | Joppa | 4x90=360 | SO2; CO; CO2; Opacity; NOx; O2 | MCU | 1988 | SDA; CI; FF | STM: 100,000 Lbs/Hr | Northeast Maryland Waste Disposal Authority | Energy Recovery Operations, Inc.
36 | MD | Montgomery County Resource Recovery Facility | Dickerson | 3x600=1800 | CO; CO2; HCl; Link, NOx; O2; Opacity; SO2 | MBWW | 1995 | FSI; SDA; FF; SNCR; CI | ELE: 63 MW | Northeast Maryland Waste Disposal Authority | Covanta Montgomery, Inc.
37 | ME | Greater Portland Resource Recovery Facility | Portland | 2x275=550 | NOx; SO2; CO; Opacity; Link | MBWW | 1988 | SDA; SNCR; SNCR; CI | ELE: 15 MW | ecomaine | ecomaine
38 | ME | Maine Energy Recovery Company | Biddeford | 2x300=600 | CO; Link; NOx; O2; Opacity; SO2; Temperature | RDF - SSWW | 1987 | SDA; FF | ELE: 22 MW | Casella Waste Systems | KTI Operations
39 | ME | Mid-Maine Waste Action Corporation | Auburn | 2x100=200 | CO; CO2; NOx; Opacity; SO2; Temperature | RWW | 1992 | SDA; FF; CI | ELE: 3.6 MW | Mid-Maine Waste Action Corporation | Mid-Maine Waste Action Corporation
40 | ME | Penobscot Energy Recovery Corp. | Orrington | 2x750=1500 | CO; CO2; O2; NOx; Opacity; SO2 | RDF | 1988 | SDA; FF | ELE: 25 MW | USA Energy Group LLC; PERC Holdings LLC; Communities | ESOCO Orrington LLC
41 | MI | Greater Detroit Resource Recovery Facility | Detroit | 3x944=2832 | CO; CO2; NOx; Opacity; SO2; Link; O2 | RDF-SSWW | 1991 | SDA; FF | STM: 100,000 Lbs/Hr; ELE: 68 MW | City of Detroit, MI (GDRRA) | Michigan Waste Energy, Inc.
42 | MI | Jackson County Resource Recovery Facility | Jackson | 2x100=200 | CO; CO2; NOx; O2; Opacity; SO2; Temperature | MBWW | 1987 | SDA; FF; CI | STM: 49,200 Lbs/Hr; ELE: 3.7 MW | Jackson County | U.S. Filter, Inc.
43 | MI | Kent County Waste-to-Energy Facility | Grand Rapids | 2x312.5=625 | CO; CO2; NOx; Opacity; SO2; Link | MBWW | 1990 | SDA; FF; SNCR; CI | ELE: 18 MW | Kent County | Covanta Kent, Inc.
44 | MN | Great River Energy - Elk River Station | Elk River | 2x250; 1x500=1000 | CO; NOx; O2; SO2; Opacity | RDF - SSWW | 1989 | SDA; FF | ELE: 35 MW | Great River Energy (Rural Electric Gen/Trans Coop) | Great River Energy
45 | MN | Hennepin Energy Resource Co. | Minneapolis | 2x606=1212 | CO; CO2; NOx; Opacity; SO2 | MBWW | 1989 | SDA; FF; SNCR; CI | ELE: 38.7 MW | Hennepin County | Covanta Hennepin Energy Resource, Inc.
46 | MN | Olmsted Waste-to-Energy Facility | Rochester | 2x100=200 | CO; CO2; SO2; O2; Opacity | MBWW | 1987 | SDA; FF; CI | ELE: 4 MW | Olmsted County | Olmsted County
47 | MN | Perham Resource Recovery Facility | Perham | 2x58=116 | SO2; CO; O2; Opacity | MCU | 1986; 2002 (upgrade) | SDA; DSI; FF; CI | STM: 37,000 Lbs/Hr; ELE: 2.5 MW | City of Perham | City of Perham
48 | MN | Polk County Solid Waste Resource Recovery Plant | Fosston | 2x40=80 | CO; SO2; O2 | MCU | 1988 | CI; DSI; ESP | STM: 25,000 Lbs/Hr | Polk County | Polk County
49 | MN | Pope/Douglas Solid Waste Management | Alexandria | 2x40=80 | CO; NOx; SO2; CO2; O2; Opacity | MCU | 1987 | DSI; FF, CI | STM: 36,000 Lbs/Hr; ELE: 0.5 MW | Pope/Douglas Solid Waste Management Board | Pope/Douglas Solid Waste Management Board
50 | MN | Red Wing Resource Recovery Facility | Red Wing | 2x45=90 | CO; SO2; O2; Opacity | MCU | 1983 | GSA; ESP | STM: 16,000 Lbs/Hr | City of Red Wing | City of Red Wing
51 | MN | Xcel Energy - Red Wing Steam Plant | Red Wing | 2x360=720 | SO2; O2; NOx; CO | RDF - SSWW | 1988 | DSI; FF | ELE: 21 MW | Xcel Energy | Xcel Energy
52 | MN | Xcel Energy-Wilmarth Plant | Mankato | 2x360=720 | CO; NOx; O2; Opacity; SO2 | RDF - SSWW | 1987 | SDA; FF | ELE: 22 MW | Xcel Energy | Xcel Energy
53 | NC | New Hanover County-Wastec | Wilmington | 2x100; 1x300= 500 | CO; CO2; NOx; O2; Opacity; SO2 | MBWW | 1984 (units 1&2); 1991 (unit 3) | SDA; FF; CI | ELE: 10.5 MW | New Hanover County | New Hanover County
54 | NH | Wheelabrator Claremont Co, L.P. | Claremont | 2x100=200 | CO; O2; Opacity; SO2 | MBWW | 1987 | SDA; FF; CI | ELE: 4.5 MW | Wheelabrator Claremont, L.P. | Wheelabrator Claremont, L.P.
55 | NH | Wheelabrator Concord Company, L.P. | Penacook | 2x288=575 | CO; NOx; O2; Opacity; SO2 | MBWW | 1989 | SDA; FF; SNCR; CI | ELE: 14 MW | Wheelabrator Concord, L.P. | Wheelabrator Concord, L.P.
56 | NJ | Camden Resource Recovery Facility | Camden | 3x350=1050 | Opacity; NOx; HCl; SO2; non-methane hydrocarbons | MBWW | 1991 | SDA; ESP; CI | ELE: 34 MW | Camden County Energy Recovery Associates | Camden County Enegy Recovery Corporation
57 | NJ | Essex County Resource Recovery Facility | Newark | 3x933=2800 | CO; NOx, O2; Opacity, SO2 | MBWW | 1990 | SDA; ESP; SNCR; CI | ELE: 70 MW | Covanta Energy Corporation | Covanta Energy Corporation
58 | NJ | Union County Resource Recovery Facility | Rahway | 3x480=1440 | CO; CO2; NOx; Opacity; SO2; Link; O2; NH3; HCl; Temp | MBWW | 1994 | SDA; FF; SNCR; CI | ELE: 42 MW | Union County Utility Authority | Covanta Union, Inc.
59 | NJ | Warren Energy Resource Company | Oxford Township | 2x200=400 | CO; NOx; Opacity; SO2: Link; O2; Temp | MBWW | 1988 | SDA; FF; SNCR; CI | ELE: 13 MW | Covanta Warren Energy Resource Co, L.P. | Covanta Warren Energy Resource Co, L.P.
60 | NJ | Wheelabrator Gloucester Company, L.P. | Westville | 2x287=575 | CO; O2; SO2; Opacity; NOx | MBWW | 1990 | SDA; FF; SNCR; CI | ELE: 14 MW | Wheelabrator Gloucester Inc. | Wheelabrator Gloucester Inc.
61 | NY | Babylon Resource Recovery Facility | Babylon | 2x375=750 | CO; CO2; NOx; Opacity; SO2 | MBWW | 1989 | SDA; FF; SNCR; CI | ELE: 17 MW | Covanta Babylon, Inc. | Covanta Babylon, Inc.
62 | NY | Dutchess County Resource Recovery Facility | Poughkeepsie | 2x225=450 | CO; NOx; SO2; Temperature; Opacity, CO2 | RWW | 1988 | SDA; FF; CI | STM: 50,000 Lbs/Hr; ELE: 10.5 MW | Dutchess County Resource Recovery Agency | Montenay Dutchess LLC
63 | NY | Hempstead Resource Recovery Facility | Westbury | 3x890.3=2671 | CO; CO2; NOx; Opacity; SO2 | MBWW | 1989 | SDA; FF; SNCR; CI | ELE: 75 MW | Town of Hempstead | Covanta Hempstead Co.
64 | NY | Huntington Resource Recovery Facility | East Northport | 3x250=750 | CO; CO2; NOx; Opacity; SO2; NH3 | MBWW | 1991 | SDA; FF; SNCR; CI | ELE: 25 MW | Covanta Huntington, Inc. | Covanta Huntington, Inc.
65 | NY | MacArthur Waste-to-Energy Facility | Ronkonkoma | 2x243=486 | CO; CO2; HCl; NOx; O2; Opacity; SO2 | RWW | 1989 | SDA; FF | ELE: 12 MW | Islip Resource Recovery Agency | Montenay Islip, Inc.
66 | NY | Niagara Falls Resource Recovery Facility | Niagra Falls | 2x1100=2200 | CO; NOx; O2; Opacity; SO2 | MBWW | 1996 | SDA; FF; SNCR; CI | STM: 350,000 Lbs/Hr; ELE: 50MW | Covanta Energy Corporation | Covanta Energy Corporation
67 | NY | Onondaga County Resource Recovery Facility | Jamesville | 3x330=990 | CO; CO2; NOx; O2; Opacity; SO2; NH3 | MBWW | 1995 | SDA; FF; SNCR; CI | ELE: 39.5 MW | Onondaga County Resource Recovery Agency | Covanta Onondaga, L.P.
68 | NY | Oswego County Energy Recovery Facility | Fulton | 4x50=200 | steam flow; CO; 02; SO2; Opacity | MCU | 1985 | SDA; FF; CI | STM: 60,000 Lbs/Hr; ELE: 4 MW | Oswego County | Oswego County
69 | NY | Wheelabrator Hudson Falls Inc. | Hudson Falls | 2x220=440 | CO; NOx; O2; Opacity; SO2 | MBWW | 1991 | SDA; ESP; CI | ELE: 14.5 MW | Warren & Washington Counties Industrial Development Agency | Wheelabrator Hudson Falls Inc.
70 | NY | Wheelabrator Westchester Company, L.P. | Peekskill | 3x750=2250 | Opacity; CO; CO2; SO2; NOx | MBWW | 1984 | SDA; FF; SNCR; CI | ELE: 60 MW | Wheelabrator Technologies Inc. | Wheelabrator Technologies Inc.
71 | OR | Marion County Solid Waste-to-Energy Facility | Brooks | 2x275=550 | O2; CO; SO2; Opacity; NOx | MBWW | 1986 | SDA; FF; SNCR; CI | ELE: 13 MW | Covanta Marion Inc. | Covanta Marion Inc.
72 | PA | Delaware Valley Resource Recovery Facility | Chester | 6x448=2688 | CO; HCl; Link; NOx; O2; Opacity; SO2 | RWW | 1992 | SDA; FF | ELE: 78 MW | Covanta Delaware Valley, L.P. | Covanta Delaware Valley, L.P.
73 | PA | Harrisburg Resource Recovery Facility | Harrisburg | 3x267=801 | CO; O2; SO2 | MBWW | 2006 (retrofit completion; startup) | SDA; FF; SNCR; CI | ELE: 24.5 MW | City of Harrisburg | Covanta Energy Corporation
74 | PA | Lancaster County Resource Recovery Facility | Bainbridge | 3x400=1200 | CO; CO2; NOx; Opacity; SO2; Link; O2; HCl | MBWW | 1991 | SDA; FF; SNCR; CI | ELE: 36 MW | Lancaster County Solid Waste Management Authority | Covanta Lancaster, Inc.
75 | PA | Montenay Energy Resources of Montgomery County, Inc. | Conshohocken | 2x600=1200 | CO; HCl; NOx; O2; Opacity; SO2 | MBWW | 1992 | SDA; FF; SNCR; CI | ELE: 36 MW | Montenay Montgomery Limited Partnership | Montenay Energy Resources of Montgomery County, Inc.
76 | PA | Wheelabrator Falls Inc. | Morrisville | 2x750=1500 | CO; HCl; NOx; O2; Opacity; SO2 | MBWW | 1994 | SDA; FF; SNCR; CI | ELE: 53 MW | Wheelabrator Falls Inc. | Wheelabrator Falls Inc.
77 | PA | York Resource Recovery Center/Montenay York | York | 3x448=1344 | CO; CO2; HCl; Link; NOx; O2; Opacity; SO2; Temperature | MBWW | 1989 | SDA; FF, CI | ELE: 41 MW | York County Solid Waste Authority | Montenay York Resource Energy Systems
78 | SC | Montenay Charleston Resource Recovery Inc. | Charleston | 2x300=600 | CO; CO2; NOx; O2; Opacity; SO2 | MBWW | 1989 | SDA; ESP; CI | ELE: 13 MW | AT&T | Montenay Charleston RRI
79 | UT | Wasatch Integrated Waste Management District | Layton | 2x200=400 | CO; NOx; O2; Opacity; SO2 | MBRW | 1986 | GSA; ESP | STM: 104,000 Lbs/Hr; ELE: 1.4 MW | Wasatch Integrated Waste Management District | Wasatch Integrated Waste Management District
80 | VA | Alexandria/Arlington Resource Recovery Facility | Alexandria | 3x325=975 | CO; NOx; O2; Opacity; SO2 | MBWW | 1988 | SDA; FF; SNCR; CI | ELE: 24 MW | Covanta Arlington/Alexandria, Inc. | Covanta Arlington/Alexandria, Inc.
81 | VA | Hampton-NASA Steam Plant | Hampton | 2x120=240 | CO; O2; Opacity | MBWW | 1980 | DSI; FF | STM: 66,000 Lbs/Hr | NASA & City of Hampton | City of Hampton
82 | VA | Harrisonburg Resource Recovery Facility | Harrisonburg | 2x100=200 | CO; CO2; O2; Opacity; SO2; Temperature | MBRW | 1982 | DSI; FF; CI | STM: 43,000 Lbs/Hr; ELE: 2.5 MW | City of Harrisonburg | City of Harrisonburg
83 | VA | I-95 Energy-Resource Recovery Facility (Fairfax) | Lorton | 4x750=3000 | CO; O2; NOx; Opacity; SO2; Link | MBWW | 1990 | SDA; FF; SNCR; CI | ELE: 79 MW | Covanta Fairfax, Inc. | Covanta Fairfax, Inc.
84 | VA | Southeastern Public Service Authority of Virginia | Portsmouth | 4x500=2000 | CO; CO2; HCl; NOx; O2; Opacity; SO2 | RDF-SSWW | 1988 | SDA; FF | STM: 25,000 Lbs/Hr; ELE: 50 MW | Southeastern Public Service Authority | Southeastern Public Service Authority
85 | WA | Spokane Regional Solid Waste Disposal Facility | Spokane | 2x400=800 | CO2; NOx; O2; Opacity; SO2 | MBWW | 1991 | SDA; FF; SNCR; CI | ELE: 26 MW | City of Spokane | Wheelabrator Spokane Inc.
86 | WI | Barron County Waste-to-Energy & Recycling Facility | Almena | 2x50=100 | Opacity; Temperature | MCU | 1986 | DSI; ESP; CI; FF | STM: 19,000 Lbs/Hr; ELE: 0.265 MW | Barron County | ZAC, Inc.
87 | WI | Xcel Energy French Island Generating Plant | LaCrosse | 2x200=400 | SO2; NOx; Opacity; CO | RDF - SSWW (co-fired with wood waste) | 1987 | DSI; FF; SNCR | ELE: 32 MW | Xcel Energy | Xcel Energy