WWTP MALFUNCTION / ABNORMAL EVENT REPORT

Please note for accordance with the Florida Administrative Code (F.A.C.) Rules.  This form is provided for your convenience only.  You may complete this form and email to  SD-AbnormalEvents@dep.state.fl.us.  If spill is greater than 1000 gallons you MUST call State Watch Office at 1-800-320-0519.    All items with an asterisk (*) are requirements by rule that must be completed.

| *Facility Name: | Venice Gardens WRF |  |  |  |  | *County: |  |  | Sarasota County |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| *Permit Number: | FLA 043494 |  |  |  |  | Method Of Contact: |  |  | Email |  |
| *Reporter Name: | Timothy Aldrich |  |  |  |  | *Responsible Party: |  |  | Sarasota County Government |  |
| *Reporter Address: | 8781 Bee ridge Road |  |  |  |  | *Responsible Party Address: |  |  | 1001 Sarasota Center Blvd |  |
| *Reporter Phone: | 941-376-9835 |  |  |  |  | *Responsible Party Phone: |  |  | 941-861-5000 |  |
| *DEP: |  |  | *Date: | 02/07/2017 | *Time: |  | 1:30 pm | *Person contacted: |  | South District |
| *State Watch Office: |  |  | *Date: |  | *Time: |  |  | Incident Number: |  |  |
| *Other: |  |  | *Date: | 02/07/2017 | *Time: |  | 1:30 pm | Person contacted: |  | Mike Mylett |

Spill Information

| *Spill Characteristic |  | ###### *Source |  |  |  | ###### *Area Affected |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Raw wastewater |  | Lift station # |  | Surge Tank |  | Storm Water |
|  | Partially Treated |  | Line Break |  | Aeration Tank |  | Surface Water/ |
|  | Treated |  | Filter |  | Clarifier |  | Ground |
|  | Reuse/Reclaimed |  | Disposal System |  | Digester |  | Containment area |
|  | Other |  | Other mainline blockage |  | Other |  | Other/ |

*Date / Time Discharge Occurred:	02/07/2017

*Amount of discharge  (1) 500        total gallons OR (2)      ______  per  for _____ .

*Amount recovered  500_____gallons

*Ongoing:		* Ceased:

*Physical location/ address/ other reference: 410 laurel Lake Dr. / sanitary sewer manhole in front of address. Spill ceased at 1:00 pm

* Malfunction/Cause

|  | Power Outage |  | RAS Line | ##### Weather |  |
| --- | --- | --- | --- | --- | --- |
|  | Pump Failure |  | Leak |  | Lightning |
|  | Disinfection System Failure |  | Switch/Timer Failure |  | Heavy Rainfall |
|  | Clarifier Failure |  | Filtration System Problem |  | High Winds |
|  | Filter Bypass |  | Clog or blockage |  | Tropical Storm: |
|  | Blower Failure |  | Line Break |  | Hurricane: |
|  | Outside Contractor |  | Other |  | Other: |
| * Explain: Mainline blockage in the sanitary sewer main on Laurel Lakes Dr. County staff was able to clear the blockage, wash down the road and vacuum out the catch basin to recover the material spilled. Spill ceased at 1:00 pm. |  |  |  |  |  |

##### * Effluent Limit Violations

|  | Cl2 mg/L |  | Turbidity NTU |  | pH SU |
| --- | --- | --- | --- | --- | --- |
|  | TSS mg/L |  | NO3 mg/l |  | CBOD5 mg/L |
|  | Other |  | fecal coliforms CFU/100ml |  | Abnormal Flow MGD |

##### * Corrective / Remedial Action Being Taken

|  | Auxiliary Power System On-Line |  | Back-Up On-Line |  | Notified Local Authorities |
| --- | --- | --- | --- | --- | --- |
|  | Disinfect with lime |  | Samples Taken (if surface waters impacted) |  | Notified State Watch Office |
|  | Bypass |  | Restore Power |  | Notified Permittee/Owner |
|  | Contained On-site |  | Replace Equipment/Supplies |  | Line Repaired |
|  | Other |  | VAC Truck/Destination: |  | Signs Posted Near Affected Waters |
| * Remedial Action Being Taken / Estimated Time for Completion of Repairs: THE CLEARING OF THE BLOCKAGE WAS COMPLETED SAME DAY (02/07/2017) AS WERE THE CLEAN UP EFFORTS. THE SYSTEM IS BACK ONLINE NOW. SPILL CEASED AT 1:00 PM. |  |  |  |  |  |